Design and Implementation of an Intelligent Lab to support Green IT

Mohammed Ahmed Youssef 1, Samer Jamal Al-hebeshi 2, Mohammed Amine Uldeen 3,Nawaf Al-Harbi 4,

M.Rizwan Jamal Qureshi 5, Fazal Qudus Khan 6

King Abdul Aziz University, silentevill@hotmail.com 1, samergot@hotmail.com 2, meedooo99@windowslive.com 3,

nawafiy.it@hotmail.com 4, anriz@hotmail.com 5 , fazalqudus@hotmail.com 6

ABSTRACT

We are proposing to solve an energy problem by saving the consumption of  power as well as providing comfort environment to students and faculty. In the IT department at the Faculty of Computing and Information Technology (FCIT), Ten labs are critical place for consuming power, at  the  same time students cannot handle temperature  of 16 degree coming from Air Conditioner (AC) while the outside is 22 degree which often happen in the Kingdom of Saudi (KSA). As a spiral project, we started from the labs. point to be noted here that KSA using oil as a major resource on priority to produce electricity, it will not last for ever. The world has shifted thinking now, to use ways to safer the environment and less population .

We are going to save  AC power consumption  by using

Ardunio Micro Controller as the control panel to all

Hardware, which has Four sensors.

There are three temperature sensors responsible

for measuring the temperature for labs, offices,

faculty Building and outside the  building.

Beginning  from the labs which have two sensors

One will be stuck on the roof and the other one on

the floor. We/ the Ardunio Microcontroller

will take the average of the two,

this average will be compared with the sensor that are

located outside. Depending on the final result it decide

either to balance the labs temperature by lowering or

increasing the temperature, or turn off the AC

to use fans.

Heat comes in case there is Someone inside the lab i.e. the

students and Personal Computer (PC) this will lead us to

the fourth sensor the Motion Sensor the job of which is

to detect any movement inside labs.

This can go two way, In the First case if there Is any

detection and the sensor, sensed Something then the work

flow will continue to temperature  sensors.

In  the  second case, if the sensor doesn’t detect anything, which means no human being inside then there will be timer for 15 minutes (because PC sleep mode  start after 15 mint if someone is using it, so that means that no heat emitted) once it finishes Sensing, the AC will turn off the compressor and only fans will be turned on.